## EEL
1 | Refrigeration
2 | run | 2023-01-12 14:46 | CTR_ | INT |  | _DC | INT | CTR_INT_DC | Refrigeration Interface | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
3 | run | 2023-01-12 14:46 | CTR_ | INT |  | _DI01 | INT | CTR_INT_DI01 | Refrigeration Interface DC Supply | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
4 | run | 2023-01-12 14:46 | CTR_ | INT |  | _DI02 | INT | CTR_INT_DI02 | Refrigeration Interface - Faulted | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
5 | run | 2023-01-12 14:46 | CTR_ | INT |  | _DO01 | INT | CTR_INT_DO01 | Refrigeration Interface - Spare Input | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
6 | run | 2023-01-12 14:46 | CTR_ | INT |  | _DO02 | INT | CTR_INT_DO02 | Refrigeration Interface - Start Request | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
7 | run | 2023-01-12 14:46 | CTR_ | EV |  | TT | EV | CTR_EVTT | Tunnel Evaporator Temperatures | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
8 | run | 2023-01-12 14:46 | CTR_ | EV | 1 | TT1 | EV | CTR_EV1TT1 | Tunnel Evaporator 1 Air On Temperature | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
9 | run | 2023-01-12 14:46 | CTR_ | EV | 2 | TT2 | EV | CTR_EV2TT2 | Tunnel Evaporator 2 Air Off Temperature | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
10 | run | 2023-01-12 14:46 | CTR_ | EV | 3 | TT1 | EV | CTR_EV3TT1 | Tunnel Evaporator 3 Air Off Temperature | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
11 | run | 2023-01-12 14:46 | CTR_ | EV | 4 | TT2 | EV | CTR_EV4TT2 | Tunnel Evaporator 4 Air Off Temperature | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
12 | Evaporator Fans
13 | run | 2023-01-12 14:46 | CTR_ | FN | 1 | _MT | FN | CTR_FN1_MT | Evaporator Fan1 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
14 | run | 2023-01-12 14:46 | CTR_ | FN | 2 | _MT | FN | CTR_FN2_MT | Evaporator Fan2 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
15 | run | 2023-01-12 14:46 | CTR_ | FN | 3 | _MT | FN | CTR_FN3_MT | Evaporator Fan3 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
16 | run | 2023-01-12 14:46 | CTR_ | FN | 4 | _MT | FN | CTR_FN4_MT | Evaporator Fan4 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
17 | run | 2023-01-12 14:46 | CTR_ | FN | 5 | _MT | FN | CTR_FN5_MT | Evaporator Fan5 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
18 | run | 2023-01-12 14:46 | CTR_ | FN | 6 | _MT | FN | CTR_FN6_MT | Evaporator Fan6 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
19 | run | 2023-01-12 14:46 | CTR_ | FN | 7 | _MT | FN | CTR_FN7_MT | Evaporator Fan7 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
20 | run | 2023-01-12 14:46 | CTR_ | FN | 8 | _MT | FN | CTR_FN8_MT | Evaporator Fan8 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
21 | run | 2023-01-12 14:46 | CTR_ | FN | 9 | _MT | FN | CTR_FN9_MT | Evaporator Fan9 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
22 | run | 2023-01-12 14:46 | CTR_ | FN | 10 | _MT | FN | CTR_FN10_MT | Evaporator Fan10 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
23 | run | 2023-01-12 14:46 | CTR_ | FN | 11 | _MT | FN | CTR_FN11_MT | Evaporator Fan11 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
24 | run | 2023-01-12 14:46 | CTR_ | FN | 12 | _MT | FN | CTR_FN12_MT | Evaporator Fan12 Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
25 | HYDRAULICS
26 | run | 2023-01-12 14:46 | CTH_ |  |  |  |  | CTH_ | HYDRAULICS | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
27 | run | 2023-01-12 14:46 | CTH_ | HPU |  | AL1 | HPU | CTH_HPUAL1 | Hydraulic Power Unit IO-Link Master | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
28 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X01 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
29 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X02 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
30 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X03 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
31 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X04 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
32 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X05 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
33 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X06 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
34 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X07 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
35 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Master X08 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
36 | run | 2023-01-12 14:46 | CTH_ | HPU |  | DIS | HPU | CTH_HPUDIS | Hydraulic Power Unit IO-Link Display Module | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
37 | run | 2023-01-12 14:46 | CTH_ | HPU |  | DP1 | HPU | CTH_HPUDP1 |  | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
37 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Converter Ch1 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
38 | run | 2023-01-12 14:46 | _ |  |  |  |  | _ | IO-Link Converter Ch2 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
40 | run | 2023-01-12 14:46 | CTH_ | PP |  | MT | PP | CTH_PPMT | Hydraulic Power Unit Motor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
41 | run | 2023-01-12 14:46 | CTH_ | PP |  | ESR01 | PP | CTH_PPESR01 | Hydraulic Power Unit Safety Contactor 1 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
42 | run | 2023-01-12 14:46 | CTH_ | PP |  | ESR02 | PP | CTH_PPESR02 | Hydraulic Power Unit Safety Contactor 2 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
43 | run | 2023-01-12 14:46 | CTH_ | PP |  | MT01_RUN | PP | CTH_PPMT01_RUN | Hydraulic Power Unit Motor Running | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
44 | run | 2023-01-12 14:46 | CTH_ | PP |  | MT01_START | PP | CTH_PPMT01_START | Hydraulic Power Unit Motor Start | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
45 | run | 2023-01-12 14:46 | CTH_ | PP |  | TT01 | PP | CTH_PPTT01 | Hydraulic Power Unit Motor Thermistor | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
46 | run | 2023-01-12 14:46 | CTH_ | PP |  | LTT01 | PP | CTH_PPLTT01 | Hydraulic Power Unit Level Temperature | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
47 | run | 2023-01-12 14:46 | CTH_ | PP |  | PT02 | PP | CTH_PPPT02 | Hydraulic Power Unit Pressure | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
48 | run | 2023-01-12 14:46 | CTH_ | PP |  | PT06 | PP | CTH_PPPT06 | Hydraulic Power Pressure Filter Blocked | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
49 | run | 2023-01-12 14:46 | CTH_ | PP |  | PT07 | PP | CTH_PPPT07 | Hydraulic Power Return Filter Blocked | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
50 | run | 2023-01-12 14:46 | CTH_ | PP |  | CV01 | PP | CTH_PPCV01 | Hydraulic Power Unit Pressure Control | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
51 | run | 2023-01-12 14:46 | CTH_ | PP |  | LS01 | PP | CTH_PPLS01 | Hydraulic Power Unit Low level | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
52 | run | 2023-01-12 14:46 | CTH_ | PP |  | SV02 | PP | CTH_PPSV02 | Hydraulic Power Unit Heating Bypass | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
53 | TUNNEL SAFETY
54 | run | 2023-01-12 14:46 | CT_ |  |  |  |  | CT_ | TUNNEL SAFETY DEVICES | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
55 | run | 2023-01-12 14:46 | CT_ |  |  |  |  | CT_ | Entry and Exit Doors | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
56 | run | 2023-01-12 14:46 | CT_ | DR | 01 | OP01 | DR | CT_DR01OP01 | Tunnel Entry Door 1 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
57 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SHS01_Ch1 | DR | CT_DR01SHS01_Ch1 | Tunnel Entry Door 1 Removable Tag | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
58 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SHS01_Ch2 | DR | CT_DR01SHS01_Ch2 | Tunnel Entry Door 1 Removable Tag | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
59 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SHS02_Ch1 | DR | CT_DR01SHS02_Ch1 | Tunnel Entry Door 1 Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
60 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SHS02_Ch2 | DR | CT_DR01SHS02_Ch2 | Tunnel Entry Door 1 Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
61 | run | 2023-01-12 14:46 | CT_ | DR | 01 | HS03 | DR | CT_DR01HS03 | Tunnel Entry Door 1 Reset | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
62 | run | 2023-01-12 14:46 | CT_ | DR | 01 | IL03 | DR | CT_DR01IL03 | Tunnel Entry Door 1 Reset | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
63 | run | 2023-01-12 14:46 | CT_ | DR | 01 | HS04 | DR | CT_DR01HS04 | Tunnel Entry Door 1 Start | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
64 | run | 2023-01-12 14:46 | CT_ | DR | 01 | IL04 | DR | CT_DR01IL04 | Tunnel Entry Door 1 Start | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
65 | run | 2023-01-12 14:46 | CT_ | DR | 01 | LK01 | DR | CT_DR01LK01 | Tunnel Entry Door 1 Mag Lock 1 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
66 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SZS01_Ch1 | DR | CT_DR01SZS01_Ch1 | Tunnel Entry Door 1 Mag Lock 1 Opened | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
67 | run | 2023-01-12 14:46 | CT_ | DR | 01 | SZS01_Ch2 | DR | CT_DR01SZS01_Ch2 | Tunnel Entry Door 1 Mag Lock 1 Opened | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
68 | run | 2023-01-12 14:46 | CT_ | DR | 01 | HS05 | DR | CT_DR01HS05 | Tunnel Entry Door 1 Exit | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
69 | run | 2023-01-12 14:46 | CT_ | DR | 02 | OP01 | DR | CT_DR02OP01 | Tunnel Entry Door 2 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
70 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SHS01_Ch1 | DR | CT_DR02SHS01_Ch1 | Tunnel Entry Door 2 Removable Tag | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
71 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SHS01_Ch2 | DR | CT_DR02SHS01_Ch2 | Tunnel Entry Door 2 Removable Tag | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
72 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SHS02_Ch1 | DR | CT_DR02SHS02_Ch1 | Tunnel Entry Door 2 Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
73 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SHS02_Ch2 | DR | CT_DR02SHS02_Ch2 | Tunnel Entry Door 2 Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
74 | run | 2023-01-12 14:46 | CT_ | DR | 02 | HS03 | DR | CT_DR02HS03 | Tunnel Entry Door 2 Reset | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
75 | run | 2023-01-12 14:46 | CT_ | DR | 02 | IL03 | DR | CT_DR02IL03 | Tunnel Entry Door 2 Reset | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
76 | run | 2023-01-12 14:46 | CT_ | DR | 02 | HS04 | DR | CT_DR02HS04 | Tunnel Entry Door 2 Start | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
77 | run | 2023-01-12 14:46 | CT_ | DR | 02 | IL04 | DR | CT_DR02IL04 | Tunnel Entry Door 2 Start | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
78 | run | 2023-01-12 14:46 | CT_ | DR | 02 | LK01 | DR | CT_DR02LK01 | Tunnel Entry Door 2 Mag Lock 2 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
79 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SZS01_Ch1 | DR | CT_DR02SZS01_Ch1 | Tunnel Entry Door 2 Mag Lock 2 Opened | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
80 | run | 2023-01-12 14:46 | CT_ | DR | 02 | SZS01_Ch2 | DR | CT_DR02SZS01_Ch2 | Tunnel Entry Door 2 Mag Lock 2 Opened | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
81 | run | 2023-01-12 14:46 | CT_ | DR | 02 | HS05 | DR | CT_DR02HS05 | Tunnel Entry Door 2 Exit | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
82 | run | 2023-01-12 14:46 | CT_ | DR | 03 | SZS01 | DR | CT_DR03SZS01 | Tunnel Exit Door 3 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
83 | run | 2023-01-12 14:46 | CT_ | DR | 03 | SZS01_Ch1 | DR | CT_DR03SZS01_Ch1 | Tunnel Exit Door 3 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
84 | run | 2023-01-12 14:46 | CT_ | DR | 03 | SZS01_Ch2 | DR | CT_DR03SZS01_Ch2 | Tunnel Exit Door 3 | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
85 | run | 2023-01-12 14:46 | CT_ | OP | 03 |  | OP | CT_OP03 | Tunnel Transfer End Lower Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
86 | run | 2023-01-12 14:46 | CT_ | OP | SHS01_Ch1 |  | OP | CT_OPSHS01_Ch1 | Tunnel Transfer End Lower Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
87 | run | 2023-01-12 14:46 | CT_ | OP | SHS01_Ch2 |  | OP | CT_OPSHS01_Ch2 | Tunnel Transfer End Lower Emergency Stop | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
88 | Light Stacks
89 | run | 2023-01-12 14:46 | CT_ | OP | 01 |  | OP | CT_OP01 | Tunnel Enclosure Warning | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
90 | run | 2023-01-12 14:46 | CT_ | OP | 02 |  | OP | CT_OP02 | Tunnel Enclosure Warning | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
91 | run | 2023-01-12 14:46 | CR_ | OP | 03 |  | OP | CR_OP03 | Tunnel Control Room Warning | IO-Link, 20m Max Cable Length | CP02 | IO-Link | 1
92 | Tunnel Load End